# Standard Testing Procedure (STP) for Assay of Clomipramine Hydrochloride Tablets 25 mg by HPLC

# 1. Objective

To describe the procedure for determination of Clomipramine Hydrochloride content in tablets using High-Performance Liquid Chromatography (HPLC).

# 2. Scope

This procedure applies to Quality Control Laboratory for routine testing of Clomipramine Hydrochloride Tablets (25 mg).

# 3. Responsibility

| Role | Responsibility |
| --- | --- |
| QC Analyst | Perform the test as per STP |
| QC Reviewer | Verify chromatograms and calculations |
| QA Head | Approve the results and ensure compliance |

# 4. Apparatus / Instruments

1. HPLC System with UV Detector
2. Analytical Balance (0.1 mg sensitivity)
3. Ultrasonic Bath
4. Volumetric Flasks, Pipettes, Beakers

# 5. Reagents and Chemicals

• Methanol (HPLC Grade)
• Water (HPLC Grade)
• Sodium 1-heptanesulfonate
• Glacial Acetic Acid
• Triethylamine
• Phosphoric Acid
• Clomipramine Hydrochloride Reference Standard

# 6. Chromatographic Conditions

| Parameter | Specification |
| --- | --- |
| Column | C18, 250 × 4.6 mm, 5 µm |
| Mobile Phase | Buffer : Acetonitrile (50:50) |
| Flow Rate | 1.0 mL/min |
| Injection Volume | 10 µL |
| Detection Wavelength | 254 nm |
| Run Time | 10 min |

# 7. Preparation of Mobile Phase

Dissolve 2.75 g of Sodium 1-heptanesulfonate in 50 mL water, add 2 mL Triethylamine, adjust pH to 3.2 ± 0.1 with Phosphoric Acid, and make up to 1000 mL. Mix with equal volume of Acetonitrile.

# 8. Preparation of Standard Solution

Weigh accurately 100 mg of Clomipramine Hydrochloride Reference Standard and dissolve in methanol to make 100 mL solution. Dilute 5 mL of this solution to 50 mL with methanol to obtain a concentration of 100 µg/mL.

# 9. Preparation of Sample Solution

Weigh powder equivalent to 25 mg Clomipramine Hydrochloride, transfer to 250 mL flask, dissolve in methanol, sonicate for 10 min, and dilute to volume. Filter and use filtrate.

# 10. Procedure

Inject equal volumes (about 10 µL) of the Standard and Sample solutions. Record chromatograms and measure responses of major peaks.

# 11. Calculation

Assay (%) = (Sample Area / Standard Area) × (Std. Weight / Sample Weight) × (Potency / 100) × Dilution Factor

# 12. Acceptance Criteria

The assay of Clomipramine Hydrochloride should be between 98.0% and 102.0% of label claim.

# 13. Reference

USP <621> Chromatography
ICH Q2(R2) Validation of Analytical Procedures

# 14. Prepared By / Reviewed By / Approved By

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Prepared By | Shivam Gupta | __________ | ___/___/2025 |
| Reviewed By | Deepak Verma | __________ | ___/___/2025 |
| Approved By | Surbhi Sharma | __________ | ___/___/2025 |