| Shivam Gupta's Pharmaceutical Company govind nagar ANALYTICAL METHOD VALIDATION PROTOCOL |  |
| --- | --- |

| NAME OF PRODUCT | abcd |
| --- | --- |
| LABEL CLAIM | creatin 25 mg |
| PROTOCOL NO. test/protocol/123 | PAGE 1 OF 20 |

ANALYTICAL METHOD VALIDATION PROTOCOL FOR ASSAY
OF
abcd

| Shivam Gupta's Pharmaceutical Company govind nagar ANALYTICAL METHOD VALIDATION PROTOCOL |  |
| --- | --- |

| NAME OF PRODUCT | abcd |
| --- | --- |
| LABEL CLAIM | creatin 25 mg |
| PROTOCOL NO. test/protocol/123 | PAGE 2 OF 20 |

CONTENTS

1. Approval	3

2. Overview	4

2.1 Objective	4

2.2 Scope	4

2.3 Responsibility	4

3. Details of Instruments/ Equipment	4

3.1 List of Equipment and Instrument Used	4

3.2 List of Glass or Other Materials	4

3.3 List of Reagents and Prepared Solutions:	5

3.4 Working Standard Details:	5

4. References: ICH Q2 (R2)	5

5. Methodology	5

6. Validation Parameter	7

6.1 System Precision	8

6.2 Specificity	9

6.3 Method Precision	10

6.4 Intermediate precision (Ruggedness):	12

6.5 Linearity and Range	15

6.6 Accuracy/Recovery:	17

6.7 Robustness	19

7. Validation Report	20

| Shivam Gupta's Pharmaceutical Company govind nagar ANALYTICAL METHOD VALIDATION PROTOCOL |  |
| --- | --- |

| NAME OF PRODUCT | abcd |
| --- | --- |
| LABEL CLAIM | creatin 25 mg |
| PROTOCOL NO. test/protocol/123 | PAGE 3 OF 20 |

1. Approval

This is a specific protocol for analytical method validation for Assay of abcd by Titration.
This protocol has been approved by the following:

|  | Name | Department | Signature | Date |
| --- | --- | --- | --- | --- |
| Prepared By | shivam | Analyst Q.C | [Signature] | 11/11/2025 |
| Checked By | annay | Asst. Manager Q.C | [Signature] | 11/11/2025 |
| Approved By | ayush | Manager Q.C | [Signature] | 11/11/2025 |

| Shivam Gupta's Pharmaceutical Company govind nagar ANALYTICAL METHOD VALIDATION PROTOCOL |  |
| --- | --- |

| NAME OF PRODUCT | abcd |
| --- | --- |
| LABEL CLAIM | creatin 25 mg |
| PROTOCOL NO. test/protocol/123 | PAGE 4 OF 20 |

2. Overview

2.1 Objective

To establish the methodology for the analytical method validation for Assay of abcd by Titration.

2.2 Scope

This Validation is applicable for the determination of Assay of abcd by Titration.

2.3 Responsibility

• Executive QC.
- To prepare the analytical method validation protocol and to carry out the analytical work In accordance with this protocol.
- To carry out all operations in accordance with GLP and relative Standard Operating Procedures (SOPs).
- To record all observations.
• Assistant Manager QC
- To check the protocol and report.
• Head Quality
Head Quality will approve the Protocol and Report.

3. Details of Instruments/ Equipment

3.1 List of Equipment and Instrument Used:

The following apparatus / equipment shall be used for validation studies:
a) glass (Code: 244c812) - ghjk

3.2 List of Glass or Other Materials

The following glass or other materials shall be used for Validation studies:
a) glass - 10ml

3.3 List of Reagents and Prepared Solutions:

The following reagents and chemicals shall be used for Validation studies:

| Reagent Name | Batch Number | Expiry Date |
| --- | --- | --- |
| hplc | 6531 | 18/11/2025 |

3.4 Working Standard Details:

| Name of Working Standard | Potency |
| --- | --- |
| creatin |  |

4. References: ICH Q2 (R2)

5. Methodology

Product	Methodology Code
abcd	
Methodology By Titration:
Weigh and powder 36.95 tablets. Add a quantity of the powder containing 1 g of creatin to 100ml of water, add 50ml of 1M hydrochloric acid VS and boil for 1 minute to remove the carbon dioxide. Cool and titrate the excess of acid with 1M sodium hydroxide VS using methyl orange solution as indicator. Each ml of 1M hydrochloric acid VS is equivalent to 131.13mg of creatin.

Standard solution: Accurately weigh and transfer about 100.0 of creatin working standard into a 100.0 volumetric flask. Add about 50ml of water and sonicate to dissolve. Make up the volume with water and mix well.

Sample solution: Weigh and powder 36.95 tablets. Transfer accurately weighed powder equivalent to 25 mg of creatin into a 100.0 volumetric flask. Add about 50ml of water and sonicate for 15 minutes with intermittent shaking. Make up the volume with water and mix well. Filter the solution through Whatman filter paper No. 41, discarding first few ml of filtrate.

Procedure: Pipette appropriate volumes of standard and sample solutions and titrate as described above. Calculate the content of creatin per tablet.

| Shivam Gupta's Pharmaceutical Company govind nagar ANALYTICAL METHOD VALIDATION PROTOCOL |  |
| --- | --- |

| NAME OF PRODUCT | abcd |
| --- | --- |
| LABEL CLAIM | creatin 25 mg |
| PROTOCOL NO. test/protocol/123 | PAGE 6 OF 20 |

Procedure: Inject 10µl injection of each solution as given below:

| Sample ID | No. of injection |
| --- | --- |
| Blank | 01 |
| Standard solution | 06 |
| Sample solution | 03 |

System suitability:

| Sr. No. | System suitability parameter | Acceptance criteria |
| --- | --- | --- |
| 1 | Tailing factor | NMT 2.0 |
| 2 | %RSD of area in the standard solution replicates. | NMT 2.0% |

Calculation:

Analysis Samples: Standard solution and Sample Solution

Calculate the percentage of the labeled amount of creatin in abcd:

Percentage Content = (V × M × F × 131.13 × 100) / (W × 1000)

Where:
V = Volume of titrant consumed (ml)
M = Molarity of titrant
F = Factor/Equivalence factor
W = Weight of sample taken (mg)
Molecular Weight = 131.13

Each ml of 1M titrant is equivalent to 131.13mg of creatin

Acceptance Criteria: 20%-60%

Limit: It contains not less than 20 percent and not more than 60 percent of the labeled amount of creatin.

| Shivam Gupta's Pharmaceutical Company govind nagar ANALYTICAL METHOD VALIDATION PROTOCOL |  |
| --- | --- |

| NAME OF PRODUCT | abcd |
| --- | --- |
| LABEL CLAIM | creatin 25 mg |
| PROTOCOL NO. test/protocol/123 | PAGE 7 OF 20 |

6. Validation Parameter:

The Titration method is evaluated for following validation parameters:

| Sr.No. | Validation Parameters |
| --- | --- |
| 1 | System Precision |
| 2 | Method Precision |
| 3 | Accuracy/Recovery |

## 6.1 System Precision:

The system precision of method is demonstrated by injecting the Blank/diluent, and Standard solution. For preparation of diluent, blank solution (diluent), Standard solution and chromatographic conditions refer to section 6.0 i.e. analytical methods.

Acceptance criteria:

✓ System Suitability should meet the requirement.

✓ The relative Standard deviation of the replicate injections obtained from six replicates of Standard solution should be not more than 2.0%.

✓ Tailing factor obtain from Standard solution is NMT 2.0

| Shivam Gupta's Pharmaceutical Company govind nagar ANALYTICAL METHOD VALIDATION PROTOCOL |  |
| --- | --- |

| NAME OF PRODUCT | abcd |
| --- | --- |
| LABEL CLAIM | creatin 25 mg |
| PROTOCOL NO. test/protocol/123 | PAGE 10 OF 20 |

## 6.3 Method Precision

Method precision will be evaluated using six sample preparations.

Acceptance criteria: %RSD ≤ 2.0%

| Shivam Gupta's Pharmaceutical Company govind nagar ANALYTICAL METHOD VALIDATION PROTOCOL |  |
| --- | --- |

| NAME OF PRODUCT | abcd |
| --- | --- |
| LABEL CLAIM | creatin 25 mg |
| PROTOCOL NO. test/protocol/123 | PAGE 17 OF 20 |

## 6.6 Accuracy/Recovery

Recovery will be evaluated at 80%, 100%, and 120% levels.

Acceptance criteria: 98.0% - 102.0%